## BAC0
point_name | device_name | value | units_or_states | description | object | cloud_device_id | cloud_point_name | cloud_value | validation_status
test_analogue_sensor | BAC0 | 23 | degreesCelsius | Analogue Sensor | analogInput:0 | FCU-2 | cooling_water_valve_percentage_sensor
test_analogue_setpoint | BAC0 | 19 | degreesCelsius | Analogue Setpoint | analogValue:0 | FCU-2 | return_air_heating_temperature_setpoint
test_digital_sensor | BAC0 | active | (None, None) | Digital Sensor | binaryInput:0 | FCU-2 | zone_air_temperature_high_alarm
test_digital_setpoint | BAC0 | inactive | (None, None) | Digital Setpoint | binaryValue:0 | FCU-2 | occupancy_status
test_multistate_sensor | BAC0 | 21 | ['Open', 'Closed', 'Ignored'] | Multistate Sensor | multiStateInput:0 | TEST-121 | test_multistate_sensor
test_multistate_setpoint | BAC0 | 17 | ['Open', 'Closed', 'Ignored'] | Multistate Setpoint | multiStateValue:0 | TEST-121 | test_multistate_setpoint